## Raw_Battery_Test_Export
test_id | test_date | substation | battery_bank | battery_type | cell_number | cell_voltage_v | internal_resistance_mohm | specific_gravity | electrolyte_temp_c | charger_voltage_v | technician_comments
T1002 | 2026-01-07 | Riverbend 69kV | BANK-3 | VRLA | 67 | 2.216 | 0.609 | 1.234 | 21.3 | 132.01 | Cell appears warm during discharge.
T1003 | 2026-02-04 | Lakeside 345kV | BANK-2 | VRLA | 106 | 2.128 | 0.689 | 1.21 | 26.2 | 134.17 | Slight corrosion observed on terminal.
T1004 | 2026-01-02 | Lakeside 345kV | BANK-3 | VRLA | 71 | 2.099 | 0.93 | 1.213 | 25.3 | 131.11 | Possible odor detected near battery rack.
T1005 | 2026-01-08 | Cedar Hill 230kV | BANK-3 | VRLA | 107 | 2.158 | 0.633 | 1.215 | 22.6 | 131.31 | Low electrolyte level observed.
T1006 | 2026-04-04 | Cedar Hill 230kV | BANK-4 | Flooded Lead-Acid | 39 | 2.176 | 0.95 | 1.208 | 20.6 | 131.41 | Routine inspection completed.
T1007 | 2026-01-23 | Maple Creek 138kV | BANK-4 | VRLA | 101 | 2.223 | 0.935 | 1.192 | 25.4 | 131.96 | Possible odor detected near battery rack.
T1008 | 2026-04-15 | Maple Creek 138kV | BANK-3 | Ni-Cd | 21 | 2.151 | 0.664 | 1.23 | 21.4 | 133.57 | Cell appears warm during discharge.
T1009 | 2026-03-20 | Lakeside 345kV | BANK-3 | Ni-Cd | 101 | 2.253 | 0.845 | 1.222 | 25.5 | 133.42 | Minor crack observed on casing.
T1010 | 2026-04-26 | Riverbend 69kV | BANK-4 | Ni-Cd | 22 | 2.227 | 0.699 | 1.21 | 19.7 | 130.78 | Minor crack observed on casing.
T1011 | 2026-02-01 | Pine Valley 138kV | BANK-3 | Flooded Lead-Acid | 15 | 2.307 | 0.618 | 1.194 | 29 | 134.25 | Connection cleaned and retorqued.
T1012 | 2026-03-21 | Riverbend 69kV | BANK-1 | Ni-Cd | 105 | 2.177 | 0.559 | 1.218 | 22.4 | 131.57 | Low electrolyte level observed.
T1013 | 2026-03-11 | Lakeside 345kV | BANK-4 | Flooded Lead-Acid | 8 | 2.279 | 0.648 | 1.212 | 23.7 | 132.49 | Minor crack observed on casing.
T1014 | 2026-01-08 | Riverbend 69kV | BANK-1 | VRLA | 83 | 2.214 | 0.907 | 1.225 | 28.6 | 132.14 | Cell appears warm during discharge.
T1015 | 2026-01-24 | Lakeside 345kV | BANK-3 | VRLA | 82 | 2.178 | 0.723 | 1.222 | 21.3 | 131.58 | Jar swelling suspected.
T1016 | 2026-01-24 | Maple Creek 138kV | BANK-4 | Ni-Cd | 82 | 2.191 | 0.815 | 1.211 | 27.4 | 129.21 | Possible odor detected near battery rack.
T1017 | 2026-01-27 | Cedar Hill 230kV | BANK-3 | Ni-Cd | 93 | 2.211 | 0.606 | 1.22 | 26.2 | 132.74 | Minor crack observed on casing.
T1018 | 2026-04-24 | Lakeside 345kV | BANK-3 | VRLA | 28 | 2.167 | 0.792 | 1.212 | 27.1 | 129.97 | Cell appears warm during discharge.
T1019 | 2026-03-08 | Riverbend 69kV | BANK-4 | VRLA | 89 | 2.237 | 0.754 | 1.203 | 22.2 | 132.39 | Minor crack observed on casing.
T1020 | 2026-03-26 | Riverbend 69kV | BANK-4 | VRLA | 106 | 2.207 | 0.896 | 1.214 | 24.9 | 132.81 | Slight corrosion observed on terminal.
T1021 | 2026-02-22 | Lakeside 345kV | BANK-1 | Ni-Cd | 85 | 2.232 | 0.615 | 1.225 | 22.4 | 131.04 | Low electrolyte level observed.
T1022 | 2026-04-29 | Cedar Hill 230kV | BANK-1 | VRLA | 96 | 2.16 | 0.718 | 1.207 | 22.3 | 132.84 | Routine inspection completed.
T1023 | 2026-03-31 | Maple Creek 138kV | BANK-3 | Flooded Lead-Acid | 29 | 2.154 | 0.839 | 1.206 | 21.6 | 129.35 | Minor crack observed on casing.
T1024 | 2026-03-11 | Lakeside 345kV | BANK-1 | VRLA | 115 | 2.155 | 0.767 | 1.212 | 20.6 | 131.82 | Connection cleaned and retorqued.
T1025 | 2026-02-28 | Maple Creek 138kV | BANK-3 | Ni-Cd | 114 | 2.142 | 0.68 | 1.206 | 21.4 | 131.12 | Jar swelling suspected.
T1026 | 2026-02-15 | Lakeside 345kV | BANK-4 | Ni-Cd | 115 | 2.09 | 0.791 | 1.211 | 29 | 130.26 | Jar swelling suspected.
T1027 | 2026-01-22 | Riverbend 69kV | BANK-1 | Flooded Lead-Acid | 45 | 2.127 | 0.776 | 1.216 | 27.3 | 132.84 | Possible odor detected near battery rack.
T1028 | 2026-04-16 | Cedar Hill 230kV | BANK-1 | Ni-Cd | 86 | 2.11 | 0.656 | 1.233 | 26.9 | 135.62 | Connection cleaned and retorqued.
T1029 | 2026-03-18 | Lakeside 345kV | BANK-4 | Flooded Lead-Acid | 91 | 2.179 | 0.729 | 1.204 | 31.3 | 131.14 | Slight corrosion observed on terminal.
T1030 | 2026-03-11 | Maple Creek 138kV | BANK-2 | Flooded Lead-Acid | 36 | 2.158 | 0.807 | 1.206 | 25.2 | 131.51 | Cell appears warm during discharge.
T1031 | 2026-04-17 | Riverbend 69kV | BANK-2 | Ni-Cd | 36 | 2.156 | 0.776 | 1.22 | 23 | 133.2 | Jar swelling suspected.
T1032 | 2026-03-02 | Cedar Hill 230kV | BANK-2 | VRLA | 68 | 2.22 | 0.924 | 1.195 | 30.7 | 131.55 | Possible odor detected near battery rack.
T1033 | 2026-02-08 | Pine Valley 138kV | BANK-2 | Ni-Cd | 87 | 2.224 | 0.773 | 1.212 | 29.8 | 130.59 | Low electrolyte level observed.
T1034 | 2026-01-20 | Pine Valley 138kV | BANK-1 | Ni-Cd | 115 | 2.182 | 0.927 | 1.245 | 21.6 | 131.78 | Cell replacement recommended.
T1035 | 2026-01-19 | Maple Creek 138kV | BANK-2 | Flooded Lead-Acid | 62 | 2.301 | 0.525 | 1.226 | 26.3 | 133.56 | Minor crack observed on casing.
T1036 | 2026-04-09 | Lakeside 345kV | BANK-2 | Ni-Cd | 61 | 2.145 | 0.868 | 1.21 | 31.2 | 134.22 | Routine inspection completed.
T1037 | 2026-04-09 | Pine Valley 138kV | BANK-2 | Ni-Cd | 46 | 2.226 | 0.631 | 1.216 | 26.9 | 129.8 | Cell replacement recommended.
T1038 | 2026-02-06 | Cedar Hill 230kV | BANK-3 | Ni-Cd | 38 | 2.183 | 0.484 | 1.191 | 25.6 | 132.37 | Slight corrosion observed on terminal.
T1039 | 2026-02-21 | Lakeside 345kV | BANK-3 | VRLA | 40 | 2.139 | 0.666 | 1.216 | 23.7 | 131.61 | Minor crack observed on casing.
T1040 | 2026-02-23 | Cedar Hill 230kV | BANK-2 | VRLA | 17 | 2.211 | 0.705 | 1.203 | 25.6 | 129.31 | Low electrolyte level observed.
T1041 | 2026-01-09 | Pine Valley 138kV | BANK-1 | Flooded Lead-Acid | 89 | 2.159 | 0.88 | 1.251 | 29.1 | 128.78 | Cell replacement recommended.
T1042 | 2026-01-13 | Maple Creek 138kV | BANK-1 | VRLA | 49 | 2.054 | 0.559 | 1.209 | 28.7 | 132.23 | Jar swelling suspected.
T1043 | 2026-02-11 | Cedar Hill 230kV | BANK-2 | Flooded Lead-Acid | 65 | 2.232 | 0.586 | 1.212 | 22.3 | 130.5 | Cell replacement recommended.
T1044 | 2026-03-19 | Maple Creek 138kV | BANK-1 | Ni-Cd | 52 | 2.135 | 0.745 | 1.206 | 23.8 | 132.96 | Possible odor detected near battery rack.
T1045 | 2026-04-18 | Cedar Hill 230kV | BANK-2 | VRLA | 104 | 2.224 | 0.795 | 1.238 | 23.8 | 134.24 | Low electrolyte level observed.
T1046 | 2026-03-25 | Pine Valley 138kV | BANK-4 | Flooded Lead-Acid | 80 | 2.092 | 0.917 | 1.189 | 28.3 | 130.13 | Routine inspection completed.
T1047 | 2026-02-05 | Cedar Hill 230kV | BANK-3 | Flooded Lead-Acid | 90 | 2.202 | 0.982 | 1.239 | 27.5 | 130.61 | Minor crack observed on casing.
T1048 | 2026-02-17 | Pine Valley 138kV | BANK-1 | Ni-Cd | 103 | 2.141 | 0.792 | 1.203 | 27 | 132.28 | Connection cleaned and retorqued.
T1049 | 2026-04-28 | Maple Creek 138kV | BANK-3 | VRLA | 62 | 2.102 | 0.741 | 1.215 | 17.1 | 131.34 | Minor crack observed on casing.
T1050 | 2026-02-02 | Cedar Hill 230kV | BANK-2 | Ni-Cd | 95 | 2.216 | 0.623 | 1.201 | 21 | 130.14 | Minor crack observed on casing.
T1051 | 2026-02-26 | Maple Creek 138kV | BANK-2 | Ni-Cd | 91 | 2.236 | 0.474 | 1.206 | 28 | 130.21 | Possible odor detected near battery rack.
T1052 | 2026-03-21 | Cedar Hill 230kV | BANK-4 | VRLA | 46 | 2.079 | 0.689 | 1.207 | 23 | 133.36 | Possible odor detected near battery rack.
T1053 | 2026-02-18 | Pine Valley 138kV | BANK-1 | VRLA | 118 | 2.155 | 0.851 | 1.194 | 18.2 | 132 | Slight corrosion observed on terminal.
T1054 | 2026-04-15 | Pine Valley 138kV | BANK-3 | VRLA | 20 | 2.201 | 0.846 | 1.197 | 26.6 | 133.68 | Minor crack observed on casing.
T1055 | 2026-04-26 | Maple Creek 138kV | BANK-3 | Flooded Lead-Acid | 7 | 2.121 | 0.773 | 1.199 | 24.4 | 130.45 | Jar swelling suspected.
T1056 | 2026-01-21 | Maple Creek 138kV | BANK-1 | VRLA | 38 | 2.092 | 0.614 | 1.191 | 21.7 | 130.51 | Slight corrosion observed on terminal.
T1057 | 2026-01-11 | Maple Creek 138kV | BANK-3 | Flooded Lead-Acid | 54 | 2.261 | 0.769 | 1.209 | 24.8 | 130.54 | Slight corrosion observed on terminal.
T1058 | 2026-04-24 | Pine Valley 138kV | BANK-3 | Flooded Lead-Acid | 3 | 2.155 | 0.587 | 1.218 | 22.1 | 133.23 | Minor crack observed on casing.
T1059 | 2026-03-30 | Lakeside 345kV | BANK-1 | Flooded Lead-Acid | 83 | 2.17 | 0.654 | 1.208 | 21.5 | 132.46 | Possible odor detected near battery rack.
T1060 | 2026-02-16 | Riverbend 69kV | BANK-3 | VRLA | 81 | 2.15 | 0.521 | 1.231 | 27.4 | 134.62 | Minor crack observed on casing.
T1061 | 2026-04-11 | Cedar Hill 230kV | BANK-3 | VRLA | 12 | 2.308 | 0.719 | 1.221 | 25.9 | 132.55 | Cell appears warm during discharge.
T1062 | 2026-04-24 | Riverbend 69kV | BANK-2 | VRLA | 25 | 2.209 | 0.831 | 1.231 | 22.1 | 133.72 | Slight corrosion observed on terminal.
T1063 | 2026-02-15 | Pine Valley 138kV | BANK-2 | Ni-Cd | 53 | 2.274 | 1.09 | 1.219 | 26.8 | 134.2 | Low electrolyte level observed.
T1064 | 2026-02-12 | Cedar Hill 230kV | BANK-4 | Ni-Cd | 68 | 2.182 | 0.742 | 1.212 | 21.9 | 130.04 | No abnormalities noted.
T1065 | 2026-04-17 | Pine Valley 138kV | BANK-3 | Ni-Cd | 11 | 2.154 | 0.743 | 1.204 | 21.7 | 131.36 | No abnormalities noted.
T1066 | 2026-02-09 | Pine Valley 138kV | BANK-1 | Ni-Cd | 74 | 2.208 | 0.661 | 1.214 | 26.2 | 132.63 | No abnormalities noted.
T1067 | 2026-04-17 | Pine Valley 138kV | BANK-2 | VRLA | 19 | 2.203 | 0.761 | 1.201 | 21 | 131.3 | Connection cleaned and retorqued.
T1068 | 2026-03-26 | Pine Valley 138kV | BANK-2 | VRLA | 6 | 2.183 | 0.855 | 1.229 | 25.4 | 131 | Routine inspection completed.
T1069 | 2026-04-13 | Pine Valley 138kV | BANK-1 | Ni-Cd | 89 | 2.235 | 0.662 | 1.202 | 18.2 | 130.54 | Slight corrosion observed on terminal.
T1070 | 2026-03-03 | Riverbend 69kV | BANK-2 | Flooded Lead-Acid | 88 | 2.219 | 0.752 | 1.199 | 24.4 | 131.52 | Possible odor detected near battery rack.
T1071 | 2026-04-13 | Maple Creek 138kV | BANK-2 | Flooded Lead-Acid | 13 | 2.158 | 0.629 | 1.204 | 24.2 | 134.92 | Connection cleaned and retorqued.
T1072 | 2026-02-22 | Maple Creek 138kV | BANK-3 | Ni-Cd | 111 | 2.268 | 0.818 | 1.215 | 27.6 | 131.88 | Low electrolyte level observed.
T1073 | 2026-01-28 | Maple Creek 138kV | BANK-4 | VRLA | 20 | 2.153 | 0.939 | 1.191 | 27.6 | 132.56 | Minor crack observed on casing.
T1074 | 2026-03-12 | Pine Valley 138kV | BANK-4 | Ni-Cd | 34 | 2.213 | 0.731 | 1.228 | 25.8 | 131.79 | Possible odor detected near battery rack.
T1075 | 2026-04-26 | Riverbend 69kV | BANK-4 | Flooded Lead-Acid | 54 | 2.201 | 0.857 | 1.204 | 22.1 | 130.84 | Cell appears warm during discharge.
T1076 | 2026-04-21 | Lakeside 345kV | BANK-2 | Ni-Cd | 119 | 2.117 | 0.654 | 1.223 | 27.8 | 131.07 | Slight corrosion observed on terminal.
T1077 | 2026-04-11 | Lakeside 345kV | BANK-4 | Ni-Cd | 119 | 2.22 | 0.645 | 1.232 | 24.6 | 133.82 | Minor crack observed on casing.
T1078 | 2026-04-13 | Cedar Hill 230kV | BANK-2 | Flooded Lead-Acid | 61 | 2.274 | 0.536 | 1.203 | 24.9 | 132.79 | Slight corrosion observed on terminal.
T1079 | 2026-02-10 | Cedar Hill 230kV | BANK-1 | Ni-Cd | 116 | 2.186 | 0.737 | 1.226 | 26.5 | 132.21 | Low electrolyte level observed.
T1080 | 2026-01-11 | Lakeside 345kV | BANK-2 | Flooded Lead-Acid | 87 | 2.164 | 0.744 | 1.219 | 23.1 | 129.83 | Cell replacement recommended.
T1081 | 2026-03-17 | Maple Creek 138kV | BANK-3 | VRLA | 60 | 2.147 | 0.732 | 1.214 | 29 | 134.06 | Connection cleaned and retorqued.
T1082 | 2026-04-11 | Riverbend 69kV | BANK-4 | Ni-Cd | 35 | 2.148 | 0.785 | 1.235 | 27 | 134.28 | Connection cleaned and retorqued.
T1083 | 2026-04-01 | Lakeside 345kV | BANK-3 | Ni-Cd | 85 | 2.226 | 0.835 | 1.208 | 22.7 | 133.16 | Routine inspection completed.
T1084 | 2026-01-06 | Cedar Hill 230kV | BANK-2 | Ni-Cd | 25 | 2.164 | 0.656 | 1.223 | 28.7 | 131 | Routine inspection completed.
T1085 | 2026-02-01 | Maple Creek 138kV | BANK-3 | Ni-Cd | 103 | 2.171 | 0.755 | 1.21 | 31.8 | 132.64 | Routine inspection completed.
T1086 | 2026-02-06 | Pine Valley 138kV | BANK-2 | Ni-Cd | 98 | 2.182 | 0.562 | 1.23 | 24.3 | 130.61 | Connection cleaned and retorqued.
T1087 | 2026-02-27 | Lakeside 345kV | BANK-2 | Ni-Cd | 38 | 2.161 | 0.838 | 1.2 | 25.3 | 131.05 | Cell replacement recommended.
T1088 | 2026-03-07 | Maple Creek 138kV | BANK-3 | Flooded Lead-Acid | 111 | 2.197 | 0.82 | 1.226 | 25.4 | 132.59 | Jar swelling suspected.
T1089 | 2026-01-26 | Lakeside 345kV | BANK-2 | Flooded Lead-Acid | 101 | 2.156 | 0.816 | 1.191 | 24.6 | 132.3 | No abnormalities noted.
T1090 | 2026-04-28 | Riverbend 69kV | BANK-4 | Ni-Cd | 41 | 2.178 | 0.724 | 1.229 | 24.8 | 130.73 | Jar swelling suspected.
T1091 | 2026-02-20 | Riverbend 69kV | BANK-1 | VRLA | 66 | 2.189 | 0.674 | 1.188 | 21.3 | 132.61 | No abnormalities noted.
T1092 | 2026-04-13 | Lakeside 345kV | BANK-1 | Ni-Cd | 40 | 2.081 | 0.596 | 1.217 | 24.4 | 131.03 | Low electrolyte level observed.
T1093 | 2026-05-01 | Maple Creek 138kV | BANK-3 | Flooded Lead-Acid | 4 | 2.151 | 0.577 | 1.231 | 21.7 | 130.4 | Connection cleaned and retorqued.
T1094 | 2026-02-26 | Riverbend 69kV | BANK-4 | VRLA | 28 | 2.199 | 0.655 | 1.253 | 22.8 | 132.85 | Routine inspection completed.
T1095 | 2026-04-18 | Pine Valley 138kV | BANK-1 | Ni-Cd | 94 | 2.201 | 0.768 | 1.225 | 26 | 131.51 | Minor crack observed on casing.
T1096 | 2026-04-07 | Lakeside 345kV | BANK-3 | Flooded Lead-Acid | 94 | 2.298 | 0.934 | 1.223 | 25.5 | 131.06 | Cell replacement recommended.
T1097 | 2026-02-21 | Lakeside 345kV | BANK-2 | Flooded Lead-Acid | 36 | 2.26 | 0.694 | 1.208 | 23.3 | 133.62 | Low electrolyte level observed.
T1098 | 2026-02-03 | Cedar Hill 230kV | BANK-1 | Ni-Cd | 76 | 2.104 | 0.737 | 1.217 | 20.7 | 131.76 | Low electrolyte level observed.
T1099 | 2026-04-16 | Cedar Hill 230kV | BANK-1 | Ni-Cd | 116 | 2.157 | 0.629 | 1.236 | 26.1 | 132.83 | Jar swelling suspected.
T1100 | 2026-03-15 | Pine Valley 138kV | BANK-1 | Ni-Cd | 98 | 2.159 | 0.635 | 1.213 | 25.8 | 133.73 | Connection cleaned and retorqued.
T1101 | 2026-03-02 | Lakeside 345kV | BANK-4 | VRLA | 24 | 2.207 | 0.858 | 1.221 | 22.3 | 130.37 | No abnormalities noted.
T1102 | 2026-01-17 | Lakeside 345kV | BANK-1 | Ni-Cd | 41 | 2.168 | 0.727 | 1.195 | 28 | 132.8 | Minor crack observed on casing.
T1103 | 2026-01-18 | Lakeside 345kV | BANK-3 | VRLA | 118 | 2.134 | 0.745 | 1.247 | 22.6 | 131.79 | Connection cleaned and retorqued.
T1104 | 2026-02-19 | Cedar Hill 230kV | BANK-1 | VRLA | 7 | 2.148 | 0.691 | 1.233 | 21.4 | 132.57 | Routine inspection completed.
T1105 | 2026-01-26 | Riverbend 69kV | BANK-3 | VRLA | 53 | 2.189 | 0.52 | 1.196 | 21.4 | 130.84 | Possible odor detected near battery rack.
T1106 | 2026-01-17 | Lakeside 345kV | BANK-4 | VRLA | 61 | 2.142 | 0.642 | 1.223 | 22.5 | 133.56 | Connection cleaned and retorqued.
T1107 | 2026-03-01 | Pine Valley 138kV | BANK-2 | Ni-Cd | 42 | 2.173 | 0.775 | 1.209 | 24.9 | 133.18 | Minor crack observed on casing.
T1108 | 2026-01-07 | Riverbend 69kV | BANK-1 | Ni-Cd | 102 | 2.098 | 0.546 | 1.221 | 22 | 134.01 | Cell appears warm during discharge.
T1109 | 2026-01-05 | Pine Valley 138kV | BANK-1 | Ni-Cd | 92 | 2.289 | 0.629 | 1.218 | 21.9 | 132.52 | Cell appears warm during discharge.
T1110 | 2026-02-18 | Riverbend 69kV | BANK-2 | VRLA | 65 | 2.102 | 0.739 | 1.2 | 24.7 | 134.34 | Jar swelling suspected.
T1111 | 2026-02-18 | Riverbend 69kV | BANK-4 | Flooded Lead-Acid | 1 | 2.149 | 0.804 | 1.21 | 19.2 | 132.17 | Cell appears warm during discharge.
T1112 | 2026-01-17 | Pine Valley 138kV | BANK-4 | Flooded Lead-Acid | 108 | 2.176 | 0.757 | 1.202 | 26.4 | 135.59 | Minor crack observed on casing.
T1113 | 2026-01-09 | Maple Creek 138kV | BANK-2 | VRLA | 34 | 2.181 | 0.735 | 1.215 | 20.1 | 132.04 | Routine inspection completed.
T1114 | 2026-04-20 | Lakeside 345kV | BANK-2 | Flooded Lead-Acid | 45 | 2.199 | 0.975 | 1.216 | 22.2 | 130.77 | Connection cleaned and retorqued.
T1115 | 2026-04-09 | Lakeside 345kV | BANK-1 | VRLA | 100 | 2.223 | 0.835 | 1.202 | 22 | 132.85 | Possible odor detected near battery rack.
T1116 | 2026-01-16 | Maple Creek 138kV | BANK-3 | Flooded Lead-Acid | 3 | 2.236 | 0.582 | 1.214 | 21.9 | 131.16 | Routine inspection completed.
T1117 | 2026-02-02 | Cedar Hill 230kV | BANK-2 | Ni-Cd | 22 | 2.252 | 0.768 | 1.2 | 22 | 130.21 | No abnormalities noted.
T1118 | 2026-04-15 | Pine Valley 138kV | BANK-4 | Ni-Cd | 114 | 2.215 | 0.662 | 1.213 | 21.9 | 131.61 | Connection cleaned and retorqued.
T1119 | 2026-02-23 | Maple Creek 138kV | BANK-2 | VRLA | 61 | 2.251 | 0.857 | 1.228 | 24.1 | 130.85 | Cell replacement recommended.
T1120 | 2026-01-13 | Cedar Hill 230kV | BANK-3 | Flooded Lead-Acid | 32 | 2.141 | 0.709 | 1.224 | 17.5 | 131.5 | Connection cleaned and retorqued.
T1121 | 2026-01-23 | Pine Valley 138kV | BANK-4 | Ni-Cd | 115 | 2.208 | 0.761 | 1.184 | 20.6 | 134.92 | Possible odor detected near battery rack.
T1122 | 2026-04-25 | Cedar Hill 230kV | BANK-2 | VRLA | 111 | 2.227 | 0.851 | 1.225 | 23 | 134.58 | Cell appears warm during discharge.
T1123 | 2026-04-24 | Lakeside 345kV | BANK-3 | VRLA | 9 | 2.21 | 0.785 | 1.211 | 23.8 | 132.51 | Slight corrosion observed on terminal.
T1124 | 2026-03-11 | Maple Creek 138kV | BANK-4 | VRLA | 15 | 2.209 | 0.517 | 1.208 | 28.2 | 132.89 | Jar swelling suspected.
T1125 | 2026-02-14 | Maple Creek 138kV | BANK-1 | VRLA | 85 | 2.13 | 0.659 | 1.202 | 24.3 | 133.03 | Cell replacement recommended.
T1126 | 2026-02-12 | Lakeside 345kV | BANK-4 | Flooded Lead-Acid | 62 | 2.125 | 0.838 | 1.254 | 27 | 131.98 | Low electrolyte level observed.
T1127 | 2026-03-11 | Lakeside 345kV | BANK-2 | Flooded Lead-Acid | 20 | 2.118 | 0.541 | 1.217 | 17.5 | 131.6 | No abnormalities noted.
T1128 | 2026-04-09 | Maple Creek 138kV | BANK-1 | VRLA | 67 | 2.102 | 0.618 | 1.197 | 18.7 | 132.67 | Jar swelling suspected.
T1129 | 2026-03-15 | Cedar Hill 230kV | BANK-3 | Flooded Lead-Acid | 103 | 2.094 | 0.764 | 1.211 | 28.1 | 131.48 | Slight corrosion observed on terminal.
T1130 | 2026-04-13 | Lakeside 345kV | BANK-2 | VRLA | 7 | 2.224 | 0.755 | 1.229 | 20.1 | 132.5 | Low electrolyte level observed.
T1131 | 2026-04-15 | Maple Creek 138kV | BANK-2 | VRLA | 15 | 2.169 | 0.558 | 1.258 | 26.2 | 133.54 | Cell replacement recommended.
T1132 | 2026-02-18 | Riverbend 69kV | BANK-3 | Ni-Cd | 55 | 2.181 | 0.538 | 1.225 | 26.8 | 130.97 | Cell replacement recommended.
T1133 | 2026-04-16 | Cedar Hill 230kV | BANK-1 | Ni-Cd | 105 | 2.101 | 0.797 | 1.212 | 26.7 | 130.6 | No abnormalities noted.
T1134 | 2026-01-13 | Pine Valley 138kV | BANK-2 | Flooded Lead-Acid | 10 | 2.202 | 0.889 | 1.232 | 24.4 | 130.49 | Jar swelling suspected.
T1135 | 2026-01-30 | Riverbend 69kV | BANK-3 | Flooded Lead-Acid | 85 | 2.188 | 0.777 | 1.208 | 30.3 | 130.54 | Possible odor detected near battery rack.
T1136 | 2026-01-23 | Cedar Hill 230kV | BANK-3 | VRLA | 5 | 2.202 | 0.694 | 1.211 | 26.2 | 132.28 | Jar swelling suspected.
T1137 | 2026-04-02 | Cedar Hill 230kV | BANK-2 | VRLA | 99 | 2.253 | 0.553 | 1.209 | 23.8 | 131.46 | Cell appears warm during discharge.
T1138 | 2026-03-03 | Cedar Hill 230kV | BANK-4 | VRLA | 84 | 2.132 | 0.937 | 1.203 | 26.8 | 134.73 | Possible odor detected near battery rack.
T1139 | 2026-03-29 | Riverbend 69kV | BANK-3 | Ni-Cd | 58 | 2.124 | 0.772 | 1.197 | 20.9 | 133.13 | Routine inspection completed.
T1140 | 2026-04-12 | Maple Creek 138kV | BANK-1 | VRLA | 45 | 2.162 | 0.502 | 1.195 | 23.2 | 132.7 | Cell appears warm during discharge.
T1141 | 2026-02-21 | Maple Creek 138kV | BANK-2 | Ni-Cd | 36 | 2.216 | 0.85 | 1.205 | 27 | 133.76 | Cell replacement recommended.
T1142 | 2026-01-15 | Lakeside 345kV | BANK-1 | Ni-Cd | 76 | 2.09 | 0.437 | 1.223 | 24.6 | 130.04 | Low electrolyte level observed.
T1143 | 2026-04-08 | Cedar Hill 230kV | BANK-3 | Flooded Lead-Acid | 118 | 2.243 | 1.084 | 1.212 | 23.9 | 132.9 | Connection cleaned and retorqued.
T1144 | 2026-02-04 | Pine Valley 138kV | BANK-2 | VRLA | 39 | 2.191 | 0.708 | 1.225 | 21.4 | 136.17 | Jar swelling suspected.
T1145 | 2026-01-18 | Pine Valley 138kV | BANK-4 | VRLA | 119 | 2.128 | 0.769 | 1.203 | 26.6 | 132.45 | Connection cleaned and retorqued.
T1146 | 2026-04-11 | Riverbend 69kV | BANK-1 | Ni-Cd | 106 | 2.207 | 0.537 | 1.234 | 23.4 | 131.43 | Possible odor detected near battery rack.
T1147 | 2026-03-17 | Cedar Hill 230kV | BANK-3 | Flooded Lead-Acid | 23 | 2.285 | 0.534 | 1.241 | 21.7 | 128.27 | Minor crack observed on casing.
T1148 | 2026-04-17 | Lakeside 345kV | BANK-4 | VRLA | 115 | 2.175 | 0.759 | 1.255 | 25.2 | 136.14 | Minor crack observed on casing.
T1149 | 2026-01-23 | Lakeside 345kV | BANK-4 | Ni-Cd | 14 | 2.202 | 0.814 | 1.214 | 24.3 | 131.94 | Connection cleaned and retorqued.
T1150 | 2026-03-27 | Riverbend 69kV | BANK-2 | VRLA | 14 | 2.189 | 0.718 | 1.214 | 21.3 | 133.68 | Slight corrosion observed on terminal.
T1151 | 2026-03-09 | Pine Valley 138kV | BANK-4 | Ni-Cd | 37 | 2.224 | 0.816 | 1.201 | 24.5 | 133.83 | Slight corrosion observed on terminal.
T1152 | 2026-03-04 | Maple Creek 138kV | BANK-1 | VRLA | 39 | 2.237 | 0.578 | 1.231 | 23.8 | 129.42 | Jar swelling suspected.
T1153 | 2026-04-22 | Riverbend 69kV | BANK-3 | VRLA | 85 | 2.08 | 0.954 | 1.216 | 20.4 | 132.59 | Jar swelling suspected.
T1154 | 2026-01-12 | Maple Creek 138kV | BANK-4 | VRLA | 100 | 2.195 | 0.651 | 1.219 | 22.2 | 133.91 | Routine inspection completed.
T1155 | 2026-01-25 | Cedar Hill 230kV | BANK-3 | VRLA | 3 | 2.183 | 0.674 | 1.231 | 15.8 | 133.28 | Minor crack observed on casing.
T1156 | 2026-02-21 | Maple Creek 138kV | BANK-2 | Flooded Lead-Acid | 103 | 2.219 | 0.697 | 1.188 | 25 | 130.5 | Possible odor detected near battery rack.
T1157 | 2026-03-08 | Maple Creek 138kV | BANK-4 | VRLA | 73 | 2.266 | 0.623 | 1.231 | 29.5 | 133.37 | Cell appears warm during discharge.
T1158 | 2026-01-07 | Pine Valley 138kV | BANK-2 | VRLA | 96 | 2.182 | 0.613 | 1.19 | 26 | 133.01 | Connection cleaned and retorqued.
T1159 | 2026-03-04 | Riverbend 69kV | BANK-3 | VRLA | 62 | 2.167 | 0.76 | 1.205 | 24.1 | 134.83 | Possible odor detected near battery rack.
T1160 | 2026-01-04 | Cedar Hill 230kV | BANK-1 | VRLA | 35 | 2.25 | 0.76 | 1.182 | 26.1 | 131.33 | Possible odor detected near battery rack.
T1161 | 2026-03-09 | Riverbend 69kV | BANK-3 | Ni-Cd | 21 | 2.199 | 0.774 | 1.212 | 20.9 | 130.67 | Cell replacement recommended.
T1162 | 2026-04-30 | Pine Valley 138kV | BANK-3 | Ni-Cd | 13 | 2.259 | 0.7 | 1.219 | 22.2 | 134.97 | No abnormalities noted.
T1163 | 2026-02-03 | Lakeside 345kV | BANK-2 | VRLA | 50 | 2.151 | 0.904 | 1.241 | 23.4 | 131.79 | Connection cleaned and retorqued.
T1164 | 2026-04-22 | Riverbend 69kV | BANK-4 | VRLA | 46 | 2.184 | 0.74 | 1.264 | 20.4 | 131.91 | Slight corrosion observed on terminal.
T1165 | 2026-03-31 | Lakeside 345kV | BANK-4 | Flooded Lead-Acid | 1 | 2.193 | 0.667 | 1.194 | 19.9 | 131.78 | Jar swelling suspected.
T1166 | 2026-01-04 | Cedar Hill 230kV | BANK-1 | Ni-Cd | 75 | 2.214 | 1.055 | 1.192 | 28.5 | 132.21 | Cell replacement recommended.
T1167 | 2026-01-31 | Maple Creek 138kV | BANK-2 | VRLA | 19 | 2.092 | 0.549 | 1.198 | 24.2 | 132.27 | Possible odor detected near battery rack.
T1168 | 2026-04-02 | Lakeside 345kV | BANK-4 | Ni-Cd | 12 | 2.135 | 0.643 | 1.238 | 25.2 | 131.81 | Possible odor detected near battery rack.
T1169 | 2026-02-08 | Pine Valley 138kV | BANK-3 | Ni-Cd | 89 | 2.252 | 0.715 | 1.208 | 20.9 | 133.29 | Low electrolyte level observed.
T1170 | 2026-01-23 | Lakeside 345kV | BANK-4 | VRLA | 14 | 2.199 | 0.689 | 1.214 | 22 | 133.81 | Cell appears warm during discharge.
T1171 | 2026-03-28 | Maple Creek 138kV | BANK-4 | VRLA | 83 | 2.171 | 0.497 | 1.197 | 26.9 | 132.64 | Cell replacement recommended.
T1172 | 2026-03-15 | Pine Valley 138kV | BANK-1 | Flooded Lead-Acid | 97 | 2.157 | 0.731 | 1.205 | 26.6 | 133.05 | Routine inspection completed.
T1173 | 2026-04-24 | Riverbend 69kV | BANK-4 | Ni-Cd | 87 | 2.103 | 0.81 | 1.241 | 24.1 | 130.96 | Jar swelling suspected.
T1174 | 2026-02-23 | Riverbend 69kV | BANK-3 | Flooded Lead-Acid | 96 | 2.149 | 0.633 | 1.238 | 21.8 | 134.12 | No abnormalities noted.
T1175 | 2026-03-14 | Riverbend 69kV | BANK-4 | VRLA | 26 | 2.12 | 0.846 | 1.197 | 22.2 | 130.18 | Low electrolyte level observed.
T1176 | 2026-03-07 | Cedar Hill 230kV | BANK-2 | Flooded Lead-Acid | 107 | 2.246 | 0.78 | 1.211 | 26.2 | 133.51 | Routine inspection completed.
T1177 | 2026-01-05 | Cedar Hill 230kV | BANK-2 | Ni-Cd | 38 | 2.224 | 0.765 | 1.21 | 26.3 | 134.33 | Cell appears warm during discharge.
T1178 | 2026-02-15 | Cedar Hill 230kV | BANK-2 | Ni-Cd | 78 | 2.132 | 0.563 | 1.194 | 25.6 | 133.07 | Connection cleaned and retorqued.
T1179 | 2026-02-18 | Lakeside 345kV | BANK-3 | Ni-Cd | 68 | 2.123 | 0.674 | 1.175 | 22.9 | 131.47 | Routine inspection completed.
T1180 | 2026-03-05 | Riverbend 69kV | BANK-3 | Flooded Lead-Acid | 59 | 2.149 | 0.886 | 1.207 | 31.8 | 133.91 | Low electrolyte level observed.
T1181 | 2026-01-24 | Riverbend 69kV | BANK-1 | Ni-Cd | 86 | 2.17 | 0.656 | 1.209 | 28.5 | 134.43 | No abnormalities noted.
T1182 | 2026-03-31 | Maple Creek 138kV | BANK-3 | VRLA | 61 | 2.29 | 0.629 | 1.237 | 24.3 | 132.86 | Minor crack observed on casing.
T1183 | 2026-01-07 | Pine Valley 138kV | BANK-2 | Ni-Cd | 29 | 2.174 | 0.468 | 1.213 | 23.1 | 133.33 | Connection cleaned and retorqued.
T1184 | 2026-04-14 | Cedar Hill 230kV | BANK-3 | Ni-Cd | 115 | 2.139 | 0.676 | 1.222 | 17.1 | 130.15 | Possible odor detected near battery rack.
T1185 | 2026-02-07 | Cedar Hill 230kV | BANK-4 | Ni-Cd | 12 | 2.264 | 0.774 | 1.209 | 27.8 | 132.55 | Slight corrosion observed on terminal.
T1186 | 2026-03-23 | Cedar Hill 230kV | BANK-3 | Ni-Cd | 108 | 2.18 | 0.696 | 1.218 | 24.6 | 132.72 | Minor crack observed on casing.
T1187 | 2026-01-26 | Riverbend 69kV | BANK-2 | Ni-Cd | 17 | 2.171 | 0.781 | 1.207 | 24.8 | 130.6 | Slight corrosion observed on terminal.
T1188 | 2026-04-28 | Pine Valley 138kV | BANK-3 | Ni-Cd | 7 | 2.147 | 0.857 | 1.221 | 26.2 | 129.24 | Cell replacement recommended.
T1189 | 2026-04-28 | Pine Valley 138kV | BANK-4 | VRLA | 120 | 2.265 | 0.727 | 1.199 | 19.4 | 129 | No abnormalities noted.
T1190 | 2026-04-08 | Cedar Hill 230kV | BANK-1 | Flooded Lead-Acid | 86 | 2.178 | 0.739 | 1.214 | 27.7 | 130.61 | Minor crack observed on casing.
T1191 | 2026-04-03 | Lakeside 345kV | BANK-4 | Ni-Cd | 86 | 2.204 | 0.581 | 1.252 | 28 | 132.59 | Connection cleaned and retorqued.
T1192 | 2026-02-20 | Maple Creek 138kV | BANK-1 | Flooded Lead-Acid | 65 | 2.195 | 0.694 | 1.202 | 23.3 | 131.36 | No abnormalities noted.
T1193 | 2026-02-26 | Riverbend 69kV | BANK-1 | Ni-Cd | 97 | 2.169 | 0.451 | 1.242 | 28.3 | 133.71 | Low electrolyte level observed.
T1194 | 2026-01-15 | Maple Creek 138kV | BANK-3 | Ni-Cd | 37 | 2.18 | 0.849 | 1.201 | 23.9 | 131.94 | Connection cleaned and retorqued.
T1195 | 2026-03-27 | Lakeside 345kV | BANK-4 | VRLA | 39 | 2.163 | 0.675 | 1.209 | 22.2 | 131.72 | Minor crack observed on casing.
T1196 | 2026-02-07 | Cedar Hill 230kV | BANK-2 | Ni-Cd | 36 | 2.279 | 0.862 | 1.205 | 24.9 | 128.58 | Cell replacement recommended.
T1197 | 2026-02-04 | Pine Valley 138kV | BANK-3 | Ni-Cd | 30 | 2.182 | 0.923 | 1.223 | 23.8 | 133.59 | Jar swelling suspected.
T1198 | 2026-01-17 | Pine Valley 138kV | BANK-1 | VRLA | 69 | 2.238 | 0.574 | 1.24 | 28.5 | 130.95 | Minor crack observed on casing.
T1199 | 2026-04-19 | Riverbend 69kV | BANK-2 | VRLA | 77 | 2.158 | 0.696 | 1.205 | 28.4 | 134.91 | Cell replacement recommended.
T1200 | 2026-04-13 | Riverbend 69kV | BANK-3 | Ni-Cd | 28 | 2.149 | 1.004 | 1.198 | 27.1 | 132.86 | Cell replacement recommended.
T1201 | 2026-03-24 | Riverbend 69kV | BANK-1 | VRLA | 104 | 2.136 | 0.931 | 1.217 | 22.4 | 133.04 | Minor crack observed on casing.